specification

A2Q0L embedded strip light

(Forward light emission / oblique light emission) are shared

Model：A2Q0L

Version：V1.0

Date：2023.05.26

Business Telephone:(965)232-5320

Company:ARTCILUX LIGHTING INC

Address:1024 FAIRVIEW

product description ：

- Slot 10mm by 10mm

- 12V safe low voltage drive, no positive or negative, plug and play

- The radiator is made of aviation aluminum and has excellent heat dissipation

- The lamp supports two types of strip lights: positive light and oblique light

- The power terminals are inserted on both sides

Product Parameter ：

| product model | A2Q0L |
| --- | --- |
| Product power | 7.5W |
| Slot size | 10*10mm |
| specification and dimension | 12*10*3000mm |
| color rendering index | CRI>90 |
| colour temperature | 3000K/4000K/6000K |
| Exterior material | PC + aluminum radiator |
| Light bulb specifications | 2219 lamp beads |
| The input line is long | 1.5M |
| working voltage | DC12V |

technical parameter ：

Packaging information: White box

application scenarios ：

Safety instructions:

For indoor use only 

Please regularly check for damage to wires, transformers and all other components 

If any part is damaged  the product should not be used 

When installing and using the lamp, please strictly comply with the requirements of this manual 

Keep this statement for future use 

The light source of this product is a non-replaceable light-emitting diode

Do not install the lamp where water droplets leak.

maintenance

The external soft wire of this lamp cannot be replaced; if the lamp wire is damaged, the lamp should be discarded and cannot be used for different installation surface materials must use different installation hardware  Be sure to select the appropriate screws and bolts according to the specific fixed installation surface 

Please use a dry cloth to clean, do not use strong detergent