specification

A112D square cabinet light

Model: A112D

Version: V1.0

Date: 2023.05.1

Company:ARTCILUX LIGHTING INC

Business Telephone:(965)232-5320

Address:1024 FAIRVIEW AVE

www.artcilux.us

product description ：

- Cabinet lamp, ultra-thin product design, 12V safe low voltage drive

- The light is uniform

- The radiator is made of aviation aluminum and has excellent heat dissipation

- The lamp supports two installation methods: embedded installation and open installation

Product Parameter ：

| product model | A112D |
| --- | --- |
| working voltage | DC12V |
| Product power | 2.5W |
| specification and dimension | 76*76*10mm |
| color rendering index | CRI>90 |
| colour temperature | 3000K/4000K/6000K |
| Exterior material | PC + aluminum radiator |
| Light bulb specification | 3528 lamp beads |
| The input line is long | 1.5M |

technical parameter ：

Packaging information: 95*95*15mm white box

application scenarios ：

Safety instructions:

For indoor use only 

Please regularly check for damage to wires, transformers and all other components 

If any part is damaged  the product should not be used 

When installing and using the lamp, please strictly comply with the requirements of this manual 

Keep this statement for future use 

The light source of this product is a non-replaceable light-emitting diode

Do not install the lamp where water droplets leak.

maintenance

The external soft wire of this lamp cannot be replaced; if the lamp wire is damaged, the lamp should be discarded and cannot be used for different installation surface materials must use different installation hardware  Be sure to select the appropriate screws and bolts according to the specific fixed installation surface 

Please use a dry cloth to clean, do not use strong detergent