[image: image1.jpg]



A230A cabinet floor lamp
Specification sheet
[image: image6.png]ar tCitux




Product model: A230A
Version: V1.0
Date: December 28,2012
Company:ARTCILUX LIGHTING INC

Business Telephone:(965)232-5320

Address:1024 FAIRVIEW AVE

www.artcilux.us
I. Product Introduction
1. Product Description:
The A230A lamp body is made of high-quality aluminum material, and the surface is treated with high-hardness anodizing. The face mask has good light diffusion performance, and the light is soft and comfortable. The structure is small and easy to install, so as to achieve good local lighting inside the cabinet. The lamp body is equipped with anti-electric shock protection, making it safer to use.
2. Product features:
● Ultra long life, environmental protection and energy saving
● Low maintenance cost and short payback period
● Select high quality aluminum oxide alloy material, anodizing treatment, so that the appearance is more textured, and safe
3. Application site:
● Suitable for chandeliers, shelves, cabinets and other furniture.
2. Product parameters
1. Basic parameters:
	 model ：
	A230A

	 working voltage ：
	DC 12V

	Environmental operating temperature:
	-20℃ to +50℃

	Control load power:
	≦3W

	Load range:
	12VDC  

	Object under test:
	Non-movable objects

	Static power consumption current:
	0.02A


2. Shape diagram and size:
[image: image2.png]64

3000/Customized length




[image: image3.png]



3. Product parameters:
	 product model 
	Switch the position of the sensor
	 power 
（W）
	 dimensions 
(MM)
	 beam angle 
	Lumen output
（LM)
	 color rendering index 
（Ra)
	 colour temperature 
（K)
	 wire length 
（MM）

	A230A.HMW.500
	No induction switch
	1.5
	500*23*6.4
	120°
	35
	>90
	3000
	1500

	A230A.HMC.1000
	No induction switch
	3.0
	1000*23*6.4
	120°
	65
	>90
	6000
	1500

	...
	...
	... 
	...
	...
	...
	...
	...
	...


3. Installation method
As shown in the installation instructions.
[image: image4.png]



4. Product effect diagram
  [image: image5.jpg]



5. Important safety instructions
5.1. For indoor use only.
5.2. Regularly check whether the wires, transformers and all other parts are damaged. If any part is damaged, the product should not be used.
5.3. When installing and using the lamp, please strictly comply with the requirements of this manual. Keep this manual for future use.
5.4. The light source of this product is a non-replaceable light-emitting diode (LED).
5.5. Do not install the lamp in the place where water drops leak.
Maintenance
6.1. The external soft wire of this lamp cannot be replaced; if the lamp wire is damaged, the lamp should be discarded and cannot be used again. Different installation surface materials must use different hardware. Be sure to choose the appropriate screws and bolts according to the specific fixed installation surface.
6.2. Please use a dry cloth to clean, do not use strong cleaning agent.

