
[image: image1.png]arTtciLux





 specification 
Silver Lake 4G21
S1314SE.CCT Wireless dual key touch remote control switch
[image: image7.png]ar tCitux




Product model: S1314SE.CCT
Version: V1.0
Date: December 27,2022
Business Telephone:(965)232-5320

Company:ARTCILUX LIGHTING INC
Address:1024 FAIRVIEW

I. Product overview
S1314SE.CCT The wireless dual-key touch remote switch uses a 2.4GHz wireless RF control method, which can be paired with our company's control box to achieve wireless control of the lighting fixtures. It uses replaceable CR2450 button batteries, allowing for a wireless control box that can operate over 10M in open areas. The design is elegant and luxurious, with a clean and high-end appearance; it features advanced low-power chips, ensuring a long standby time. This product offers environmental protection, energy efficiency, ease of use, and no need for wiring, making it an excellent solution for controlling LED lighting in furniture.
2. Technical parameters of wireless remote control
	 ambient temperature 
	-20℃~50℃
	
	 working voltage 
	3.0~3.3V

	Battery model
	CR2450
	
	 modulation mode 
	GFSK

	Standby power consumption
	<0.2mW
	
	Work power consumption
	<60mW

	Wireless transmission frequency
	2.4GHz
	
	Remote control distance
	10M

	Touch sensing distance
	0cm
	
	 product size 
	50*40*11.5*mm


3. Product size drawing and wood processing drawing
[image: image2.png]o0




       [image: image3.png]48.8

38.7

i
=
&

Dopth: 10mm





Product size diagram The screw installation of the visible lock does not need to open a slot, and the wood board needs to be processed with a slot when embedded as shown in the figure above                        Product size diagram The screw installation of the visible lock does not require a slot, and the wood board needs to be processed with a slot when embedded as shown in the figure above
4. Code matching, code clearing and learning operation of wireless switch
The wireless remote control should be coded with our control box in the following way to realize the matching use of the transmitter and receiver.
[image: image4.png]



Code mode:
After connecting the lamp to the intelligent power supply or control box, power on the equipment. Within 30S after powering on the equipment, long press the code key of the remote control. When the lamp flashes three times, it indicates that the code is successful at this time, and the remote control can control this group of lamps.
[image: image5.png]



Clear code method:
Before the receiving end is powered on, press the code key and the code clearing key for about 5S at the same time. The lamp will flash three times, and the code clearing is successful at this time; the remote control can no longer control this receiving end.
Learning methods between remote controls:
[image: image6.png]Unmatched remote control B: Long press
the code key for 5S, and the indicator
light will be on constantly. At this

time, it enters the learning state.

Remote control A: Long press the
code key for 2S, and the indicator
light of remote control B will be
turned off. Learning is successful,
and both remote controls A and B can
control the same receiving end.





